## Overview
SEAPORT Stable Isotope Lab, University of Southampton, National Oceanography Centre
Laboratory Manager: Bastian Hambach
B.Hambach@noc.soton.ac.uk
Laboratory Technician: Megan Wilding
megan.wilding@soton.ac.uk
Instrument: vario ISOTOPE select elemental analyser coupled with Isoprime 100 isotope ratio mass spectrometer
Samples ran by: | Megan Wilding |  | 2019-07-01
Total number of samples: |  | 110
Total number of re-runs: |  | 0
Total number of runs: |  | 2
Bulk organic d13C & d15N (no prep)
Researcher: | Sarah Alewijnse PhD / Supervisor: Clive Trueman
Institution: | OES
Year: | 2019
Set: | 1
Sample type: | fish muscle

## Data summary
Sample Description | N% | C% | Normalised 15N/14Nair [‰] | Normalised 13C/12CVPDB [‰] | Run |  | Standard deviation of 'Quality control' HOCS standard per run:
ELC 73 | 12.21 | 51.41 | 7.0203 | -24.2696 | 190723 |  | Run | N% | C% | Normalised 15N/14Nair [‰] | Normalised 13C/12CVPDB [‰]
ELC 75 | 13.08 | 47.52 | 7.0211 | -23.2485 | 190723
ELC 76/84-1 | 12.42 | 49.82 | 7.2907 | -24.109 | 190723
ELC 76/84-2 | 13.3 | 48.64 | 7.2261 | -24.1112 | 190723
ELC 77 | 11.47 | 51.8 | 7.7025 | -24.4242 | 190723 |  | 190723 | 0.1641 | 0.41585 | 0.078989 | 0.045322
ELC 78 | 10.65 | 54.42 | 7.6994 | -25.5349 | 190723 |  | 190724 | 0.22525 | 1.0169 | 0.23884 | 0.23078
ELC 79 | 12.2 | 50.6 | 7.1486 | -24.3683 | 190723 | -24.168
ELC 79b | 13.02 | 49.37 | 7.1746 | -23.9676 | 190723 | 0.28335
ELC 80/85-1 | 13.38 | 49.05 | 6.5742 | -23.3719 | 190723
ELC 80/85-2 | 11.8 | 56.69 | 7.4051 | -24.6826 | 190723 | -24.0273
ELC 81 | 11.9 | 52.01 | 7.0069 | -24.656 | 190723 | 0.92676
ELC 82/83-1 | 12.4 | 50.09 | 7.3091 | -23.7363 | 190723
ELC 82/83-2 | 12.97 | 49.67 | 7.5817 | -24.175 | 190723 | -23.9557
ELC 86 | 10.38 | 53.77 | 7.6143 | -25.9205 | 190723 | 0.31028
ELC 87 | 13.28 | 50.32 | 7.4626 | -23.9162 | 190723
ELC 88 | 11.28 | 55.43 | 7.5544 | -25.143 | 190723
ELC 89 | 11.3 | 51.27 | 7.1475 | -24.9993 | 190723 | -24.3902
ELN 19 | 11.58 | 51.4 | 9.9535 | -27.6836 | 190724 | 0.71313
ELN 21-1 | 10.93 | 48.65 | 7.6345 | -26.8764 | 190724
ELN 21-2 | 11.05 | 52.21 | 7.8984 | -27.3221 | 190724 | -27.0993
ELN 31 | 11.81 | 50.53 | 8.1534 | -26.6556 | 190724 | 0.31518
ELN 32 | 10.44 | 53.94 | 9.1166 | -28.1074 | 190724
ELN 33 | 11.48 | 51.64 | 7.8485 | -27.3331 | 190724
ELN 35 | 11.9 | 55.24 | 9.1194 | -26.4676 | 190724
ELN 36 | 11.1 | 53.88 | 9.3903 | -26.4333 | 190724
ELN 37 | 11.01 | 51.98 | 8.9492 | -27.7186 | 190724
ELN 38 | 10.54 | 52.44 | 8.6985 | -26.9067 | 190724
ELN 42 | 11.33 | 50.59 | 8.8699 | -27.4831 | 190724
ELN 52 | 10.13 | 51.46 | 8.808 | -27.388 | 190724
ELN 59 | 10.6 | 51.74 | 9.3209 | -27.1254 | 190724
ELN 60 | 9.77 | 53.03 | 9.1386 | -27.202 | 190724
ELN 62 | 10.61 | 52.14 | 9.7627 | -27.1561 | 190724
ELN 62 | 10.81 | 51.39 | 9.7494 | -27.1081 | 190724
ELN 65 | 9.15 | 53.29 | 8.1298 | -27.5544 | 190724
ELN 67 | 10.58 | 57.17 | 7.9787 | -26.4353 | 190724
ELN 69 | 11.91 | 52.05 | 9.4303 | -27.0447 | 190724
ELN 71 | 10.32 | 54.14 | 8.1866 | -27.3717 | 190724
ELN 72 | 11.21 | 50.77 | 8.0714 | -26.8794 | 190724
GYN 120 | 10.25 | 55.17 | 9.98 | -24.2514 | 190724
GYN 121 | 7.94 | 61.49 | 9.9567 | -25.9715 | 190724
GYN 122 | 8.3 | 61.38 | 10.3601 | -28.2 | 190724
GYN 123 | 7.74 | 60.37 | 10.3028 | -25.594 | 190724
GYN 124 | 8 | 63.47 | 9.7326 | -26.1805 | 190724
GYN 125 | 11.19 | 54.57 | 9.7249 | -24.5149 | 190724
GYN 126 | 8.55 | 61.02 | 9.5877 | -26.2809 | 190724
GYN 127 | 7.4 | 61.92 | 8.9157 | -27.848 | 190724
GYN 128 | 8.32 | 63.2 | 10.1129 | -26.3561 | 190724
GYN 129 | 9 | 53.11 | 9.782 | -26.1865 | 190724
GYN 130 | 7.18 | 61.41 | 8.9965 | -27.2718 | 190724
GYN 220 | 11.23 | 53.54 | 9.2213 | -24.9384 | 190724
GYR 100 | 10.42 | 55.91 | 8.6062 | -26.22 | 190724
GYR 101 | 10.96 | 54.24 | 9.3819 | -25.5323 | 190724
GYR 102 | 11.41 | 54.81 | 9.5174 | -27.9806 | 190724
GYR 103 | 11.02 | 53.13 | 8.1711 | -26.95 | 190724
GYR 104 | 10.15 | 57.29 | 10.2709 | -27.7858 | 190724
GYR 105 | 10.9 | 53.05 | 9.1387 | -27.4715 | 190724
GYR 106 | 4.65 | 23.57 | 7.9119 | -26.3834 | 190724
GYR 107 | 11.39 | 51.89 | 8.867 | -24.7544 | 190724
GYR 110 | 10.6 | 55.22 | 9.5931 | -28.736 | 190724
GYR 111 | 11.06 | 54.77 | 9.697 | -28.4662 | 190724
GYR 112 | 10.4 | 55.07 | 8.6431 | -26.6058 | 190724
GYR 90 | 10.59 | 57.55 | 9.1435 | -26.9733 | 190724
GYR 91 | 10.99 | 57.19 | 9.3683 | -28.2353 | 190724
GYR 93 | 10.37 | 55.93 | 9.6192 | -28.223 | 190724
GYR 94 | 11.08 | 53.29 | 10.1206 | -27.4283 | 190724
GYR 95 | 10.58 | 54.66 | 10.2509 | -28.2181 | 190724
GYR 96-1 | 11.28 | 52.27 | 9.7686 | -23.9452 | 190724
GYR 96-2 | 9.76 | 53.7 | 8.9683 | -26.8667 | 190724 | -25.406
GYR 97 | 10.87 | 49.72 | 9.0277 | -25.4117 | 190724 | 2.0658
GYR 98 | 10.97 | 54.24 | 10.3154 | -26.4668 | 190724
GYR 99 | 10.3 | 53.56 | 8.4353 | -26.3609 | 190724
KRA 145 | 10.37 | 51.92 | 7.296 | -24.1614 | 190723
KRA 146 | 10.35 | 52.85 | 6.5463 | -27.3582 | 190723
KRA 151 | 10.28 | 51.51 | 6.1424 | -27.225 | 190723
KRA 152 | 10.71 | 55 | 7.7927 | -27.089 | 190723
KRA 153 | 9.08 | 55.71 | 6.2537 | -27.7433 | 190723
KRA 155 | 8.82 | 54.65 | 6.8948 | -27.5036 | 190724
KRA 156 | 7.65 | 55.07 | 7.5254 | -26.7635 | 190724
KRA 165 | 9.25 | 51.39 | 5.9981 | -27.0484 | 190723
KRA 166 | 8.86 | 53.66 | 6.2093 | -28.0551 | 190724
KRA 167 | 10.62 | 54.25 | 6.1696 | -27.462 | 190723
KRA 168 | 8.9 | 56.88 | 6.4028 | -27.8381 | 190723
KRA 169 | 7.79 | 56.1 | 6.0138 | -28.2375 | 190723
KRA 170 | 10.15 | 53.66 | 7.849 | -26.8607 | 190723
KRA 172 | 10.37 | 51.79 | 6.1314 | -26.7188 | 190723
KRA 174 | 8.7 | 54.49 | 6.9706 | -27.1375 | 190724
KRA 175 | 10.62 | 53.94 | 6.2569 | -27.3485 | 190723
KRA 176 | 10.37 | 52.26 | 6.4275 | -26.9233 | 190724
KRA 177 | 9.59 | 53.57 | 6.4859 | -27.1902 | 190723
KRA 178 | 9.4 | 54.12 | 7.57 | -27.1671 | 190723 | -27.149
PRM 188 | 11.91 | 48.44 | 9.1388 | -24.6432 | 190723 | 0.8352
PRM 189 | 11.95 | 50.02 | 9.5324 | -22.9523 | 190723
PRM 190 | 11.46 | 50.08 | 9.624 | -25.031 | 190723
PRM 192 | 11.2 | 51.32 | 9.3462 | -25.4042 | 190723
PRM 193 | 9.73 | 54.23 | 8.5438 | -26.0361 | 190723
PRM 194 | 9.74 | 50.86 | 9.0457 | -24.3511 | 190723
PRM 195 | 11.48 | 49.48 | 10.095 | -23.2211 | 190723
PRM 196 | 10.77 | 51.86 | 9.5121 | -25.164 | 190723
PRM 200 | 13.04 | 46.51 | 8.1395 | -23.356 | 190723
PRM 201 | 13.05 | 48.4 | 8.4783 | -24.4049 | 190723
PRM 203 | 11.94 | 51.58 | 9.0048 | -25.3812 | 190723
PRM 204 | 13.26 | 47.65 | 8.7507 | -23.63 | 190723
PRM 205 | 12.73 | 51.85 | 7.7858 | -25.6214 | 190724
PRM 212 | 11.69 | 51.49 | 8.5534 | -25.6757 | 190723
PRM 213 | 11.77 | 49.99 | 7.6798 | -25.3387 | 190723
PRM 214 | 12 | 47.1 | 8.0455 | -25.4453 | 190723
PRM 215 | 10.65 | 50.23 | 9.2606 | -26.2726 | 190723
PRM 217 | 12.46 | 46.62 | 7.9006 | -25.408 | 190723
PRM 218 | 11.58 | 50.08 | 8.2846 | -26.1749 | 190723
PRM 219 | 10.7 | 53.74 | 8.64 | -25.8925 | 190723

## 190723
Sample Number | Raw data file | Weight (mg) | Sample Description | N2 reference peak height (nA) | N2 sample peak height (nA) | Raw 15N/14Nair [‰] | Linearity adjustment N | Linearity corrected N | CO2 reference peak height (nA) | CO2 sample peak height (nA) | Raw 13C/12CVPDB [‰] |  |  | N% | C% | Normalised 15N/14Nair [‰] | Normalised 13C/12CVPDB [‰] | Run: 190723_SAlewijnse2019_set1_run01
1302 | 190723_acet01.raw | 1.042 | Acetanilide | 5 | 6.6287 | 1.028 | 0.46273 | 0.56525 | 5 | 9.7539 | -25.5512 | 0.29644 | -25.8476 |  |  | 1.4059 | -27.6135
1303 | 190723_acet02.raw | 0.503 | Acetanilide | 5 | 3.1653 | 0.65987 | -0.084482 | 0.74435 | 5 | 4.6098 | -25.8426 | 0.052606 | -25.8952 |  |  | 1.6095 | -27.6083
1304 | 190723_acet03.raw | 0.821 | Acetanilide | 5 | 5.5585 | 1.0939 | 0.29364 | 0.80029 | 5 | 7.7322 | -25.632 | 0.20061 | -25.8326 |  |  | 1.6731 | -27.3897
1305 | 190723_USGS40_01.raw | 0.585 | USGS 40 | 5 | 3.4575 | -4.1316 | -0.038317 | -4.0933 | 5 | 4.751 | -24.5635 | 0.059295 | -24.6228 | 9.68 | 41.05 | -3.8895 | -26.281
1306 | 190723_USGS40_02.raw | 0.658 | USGS 40 | 5 | 3.8704 | -4.6854 | 0.026923 | -4.7123 | 5 | 5.3771 | -24.6216 | 0.088976 | -24.7106 | 9.6 | 41.52 | -4.5932 | -26.3413
1308 | 190723_USGS41a_01.raw | 0.63 | USGS 41a | 5 | 3.9215 | 40.986 | 0.034997 | 40.951 | 5 | 5.1711 | 34.6997 | 0.079211 | 34.6205 | 9.93 | 42.51 | 47.313 | 35.2147
1309 | 190723_USGS41a_02.raw | 0.584 | USGS 41a b2 | 5 | 3.4305 | 41.1843 | -0.042578 | 41.2269 | 5 | 4.7318 | 35.552 | 0.058385 | 35.4937 | 9.38 | 41.67 | 47.6266 | 36.0991
1310 | 190723_fishmuscle01.raw | 0.614 | Fish muscle | 5 | 5.369 | 9.7448 | 0.2637 | 9.4811 | 5 | 5.7279 | -17.8186 | 0.1056 | -17.9242 | 14.34 | 47.24 | 11.5407 | -19.282
1311 | 190723_KRA_175.raw | 0.696 | KRA 175 | 5 | 4.3582 | 4.9368 | 0.104 | 4.8328 | 5 | 7.3464 | -25.5923 | 0.18232 | -25.7746 | 10.62 | 53.94 | 6.2569 | -27.3485
1312 | 190723_KRA_146.raw | 0.728 | KRA 146 | 5 | 4.4483 | 5.2056 | 0.11824 | 5.0873 | 5 | 7.6663 | -25.6016 | 0.19748 | -25.7991 | 10.35 | 52.85 | 6.5463 | -27.3582
1313 | 190723_KRA_153.raw | 0.76 | KRA 153 | 5 | 4.2541 | 4.9175 | 0.087552 | 4.83 | 5 | 8.4501 | -25.9728 | 0.23463 | -26.2074 | 9.08 | 55.71 | 6.2537 | -27.7433
1315 | 190723_KRA_177.raw | 0.761 | KRA 177 | 5 | 4.3304 | 5.1338 | 0.0996 | 5.0342 | 5 | 8.0326 | -25.4397 | 0.21484 | -25.6546 | 9.59 | 53.57 | 6.4859 | -27.1902
1316 | 190723_KRA_178.raw | 0.756 | KRA 178 | 5 | 4.2185 | 6.0699 | 0.081929 | 5.988 | 5 | 8.0014 | -25.4175 | 0.21336 | -25.6309 | 9.4 | 54.12 | 7.57 | -27.1671
1317 | 190723_KRA_152.raw | 0.75 | KRA 152 | 5 | 5.105 | 6.4059 | 0.222 | 6.1839 | 5 | 8.1387 | -25.3422 | 0.21987 | -25.5621 | 10.71 | 55 | 7.7927 | -27.089
1318 | 190723_KRA_169.raw | 0.692 | KRA 169 | 5 | 3.6389 | 4.6093 | -0.0096585 | 4.6189 | 5 | 7.6247 | -26.449 | 0.19551 | -26.6445 | 7.79 | 56.1 | 6.0138 | -28.2375
1319 | 190723_KRA_167.raw | 0.704 | KRA 167 | 5 | 4.6006 | 4.8983 | 0.1423 | 4.756 | 5 | 7.4891 | -25.7016 | 0.18908 | -25.8907 | 10.62 | 54.25 | 6.1696 | -27.462
1321 | 190723_KRA_151.raw | 0.755 | KRA 151 | 5 | 5.0552 | 4.9462 | 0.21412 | 4.7321 | 5 | 7.5103 | -25.4733 | 0.19009 | -25.6634 | 10.28 | 51.51 | 6.1424 | -27.225
1322 | 190723_KRA_172.raw | 0.692 | KRA 172 | 5 | 4.5405 | 4.8552 | 0.13281 | 4.7224 | 5 | 7.0418 | -24.9854 | 0.16788 | -25.1533 | 10.37 | 51.79 | 6.1314 | -26.7188 |  |  | 0.158
1323 | 190723_KRA_168.raw | 0.746 | KRA 168 | 5 | 4.0898 | 5.0227 | 0.06159 | 4.9611 | 5 | 8.3431 | -26.0641 | 0.22956 | -26.2937 | 8.9 | 56.88 | 6.4028 | -27.8381 |  | Adjusted to 3.7nA | 0.5846
1324 | 190723_KRA_165.raw | 0.695 | KRA 165 | 5 | 3.9628 | 4.6466 | 0.041527 | 4.6051 | 5 | 6.9846 | -25.3031 | 0.16517 | -25.4683 | 9.25 | 51.39 | 5.9981 | -27.0484
1325 | 190723_fishmuscle02.raw | 0.689 | Fish muscle | 5 | 6.1226 | 9.8653 | 0.38277 | 9.4826 | 5 | 5.5478 | -17.8782 | 0.097067 | -17.9752 | 14.64 | 48.09 | 11.5424 | -19.3438
1327 | 190723_CTGA01.raw | 0.623 | CTGA | 5 | 3.4472 | -4.0601 | -0.039937 | -4.0202 | 5 | 4.2246 | -11.8679 | 0.034347 | -11.9023 | 9.52 | 40.51 | -3.8064 | -13.1072
1328 | 190723_ELC_80_85_1.raw | 0.687 | ELC 80/85-1 | 5 | 5.6595 | 5.4216 | 0.30959 | 5.112 | 5 | 5.6203 | -21.7601 | 0.1005 | -21.8606 | 13.38 | 49.05 | 6.5742 | -23.3719
1329 | 190723_ELC_80_85_2.raw | 0.683 | ELC 80/85-2 | 5 | 4.7814 | 6.0138 | 0.17086 | 5.8429 | 5 | 6.5165 | -23.0231 | 0.14298 | -23.1661 | 11.8 | 56.69 | 7.4051 | -24.6826
1330 | 190723_ELC_88.raw | 0.67 | ELC 88 | 5 | 4.762 | 6.1421 | 0.1678 | 5.9743 | 5 | 6.1846 | -23.4669 | 0.12725 | -23.5941 | 11.28 | 55.43 | 7.5544 | -25.143
1331 | 190723_ELC_86.raw | 0.754 | ELC 86 | 5 | 4.6626 | 6.179 | 0.1521 | 6.0269 | 5 | 6.7858 | -24.2161 | 0.15575 | -24.3719 | 10.38 | 53.77 | 7.6143 | -25.9205
1333 | 190723_ELC_87.raw | 0.678 | ELC 87 | 5 | 5.52 | 6.181 | 0.28757 | 5.8934 | 5 | 5.6937 | -22.2845 | 0.10398 | -22.3885 | 13.28 | 50.32 | 7.4626 | -23.9162
1334 | 190723_ELC_81.raw | 0.679 | ELC 81 | 5 | 5.2964 | 5.7448 | 0.25223 | 5.4925 | 5 | 5.903 | -22.9975 | 0.1139 | -23.1114 | 11.9 | 52.01 | 7.0069 | -24.656
1335 | 190723_ELC_77.raw | 0.745 | ELC 77 | 5 | 5.5528 | 6.3973 | 0.29275 | 6.1046 | 5 | 6.491 | -22.7742 | 0.14177 | -22.9159 | 11.47 | 51.8 | 7.7025 | -24.4242
1336 | 190723_ELC_79.raw | 0.744 | ELC 79 | 5 | 5.3809 | 5.8828 | 0.26558 | 5.6173 | 5 | 6.2941 | -22.7203 | 0.13244 | -22.8527 | 12.2 | 50.6 | 7.1486 | -24.3683
1337 | 190723_ELC_82_83_1.raw | 0.685 | ELC 82/83-1 | 5 | 5.237 | 6.0012 | 0.24284 | 5.7584 | 5 | 5.8293 | -22.1112 | 0.11041 | -22.2216 | 12.4 | 50.09 | 7.3091 | -23.7363
1339 | 190723_ELC_82_83_2.raw | 0.66 | ELC 82/83-2 | 5 | 4.9647 | 6.198 | 0.19982 | 5.9982 | 5 | 5.4985 | -22.534 | 0.094729 | -22.6288 | 12.97 | 49.67 | 7.5817 | -24.175
1340 | 190723_ELC_73.raw | 0.693 | ELC 73 | 5 | 5.0544 | 5.7183 | 0.214 | 5.5043 | 5 | 5.8614 | -22.6252 | 0.11193 | -22.7371 | 12.21 | 51.41 | 7.0203 | -24.2696
1341 | 190723_ELC_89.raw | 0.699 | ELC 89 | 5 | 5.0074 | 5.8228 | 0.20657 | 5.6162 | 5 | 6.0589 | -23.3283 | 0.12129 | -23.4496 | 11.3 | 51.27 | 7.1475 | -24.9993
1342 | 190723_fishmuscle03.raw | 0.688 | Fish muscle | 5 | 5.9941 | 9.805 | 0.36246 | 9.4426 | 5 | 5.5781 | -17.7773 | 0.0985 | -17.8758 | 14.79 | 48.36 | 11.4969 | -19.2391
1343 | 190723_ELC_76_84_1.raw | 0.704 | ELC 76/84-1 | 5 | 5.1868 | 5.9771 | 0.23492 | 5.7422 | 5 | 5.9119 | -22.4704 | 0.11432 | -22.5847 | 12.42 | 49.82 | 7.2907 | -24.109 |  |  | 0.0474
1345 | 190723_ELC_76_84_2.raw | 0.68 | ELC 76/84-2 | 5 | 5.8037 | 6.0178 | 0.33238 | 5.6854 | 5 | 5.5008 | -22.4724 | 0.094838 | -22.5673 | 13.3 | 48.64 | 7.2261 | -24.1112 |  | Adjusted to 3.5nA | 0.1659
1346 | 190723_ELC_79b.raw | 0.676 | ELC 79b | 5 | 5.1473 | 5.8688 | 0.22867 | 5.6401 | 5 | 5.6741 | -22.3341 | 0.10305 | -22.4372 | 13.02 | 49.37 | 7.1746 | -23.9676
1347 | 190723_ELC_75.raw | 0.768 | ELC 75 | 5 | 5.94 | 5.859 | 0.35392 | 5.505 | 5 | 6.0997 | -21.6411 | 0.12323 | -21.7643 | 13.08 | 47.52 | 7.0211 | -23.2485
1348 | 190723_ELC_78.raw | 0.763 | ELC 78 | 5 | 4.9084 | 6.2928 | 0.19093 | 6.1018 | 5 | 6.9663 | -23.8446 | 0.1643 | -24.0089 | 10.65 | 54.42 | 7.6994 | -25.5349
1349 | 190723_PRM_217.raw | 0.672 | PRM 217 | 5 | 5.2234 | 6.5195 | 0.2407 | 6.2788 | 5 | 5.2276 | -23.7222 | 0.08189 | -23.8041 | 12.46 | 46.62 | 7.9006 | -25.408
1351 | 190723_PRM_196.raw | 0.729 | PRM 196 | 5 | 4.535 | 7.8284 | 0.13193 | 7.6965 | 5 | 6.2985 | -23.4871 | 0.13265 | -23.6197 | 10.77 | 51.86 | 9.5121 | -25.164
1352 | 190723_PRM_189.raw | 0.706 | PRM 189 | 5 | 4.9638 | 7.914 | 0.19968 | 7.7143 | 5 | 5.8124 | -21.3557 | 0.10961 | -21.4653 | 11.95 | 50.02 | 9.5324 | -22.9523
1353 | 190723_PRM_192.raw | 0.721 | PRM 192 | 5 | 4.7674 | 7.7191 | 0.16865 | 7.5505 | 5 | 6.0904 | -23.7186 | 0.12279 | -23.8413 | 11.2 | 51.32 | 9.3462 | -25.4042
1354 | 190723_PRM_204.raw | 0.668 | PRM 204 | 5 | 5.6801 | 7.3395 | 0.31285 | 7.0267 | 5 | 5.2972 | -22.0088 | 0.085189 | -22.094 | 13.26 | 47.65 | 8.7507 | -23.63
1355 | 190723_PRM_193.raw | 0.654 | PRM 193 | 5 | 3.7871 | 6.8584 | 0.013764 | 6.8446 | 5 | 5.9021 | -24.3275 | 0.11386 | -24.4414 | 9.73 | 54.23 | 8.5438 | -26.0361
1357 | 190723_PRM_195.raw | 0.65 | PRM 195 | 5 | 4.32 | 8.3072 | 0.097959 | 8.2092 | 5 | 5.2401 | -21.6147 | 0.082479 | -21.6972 | 11.48 | 49.48 | 10.095 | -23.2211
1358 | 190723_fishmuscle04.raw | 0.662 | Fish muscle | 5 | 5.6781 | 9.6259 | 0.31254 | 9.3134 | 5 | 5.2495 | -17.7722 | 0.082925 | -17.8551 | 14.57 | 47.8 | 11.3501 | -19.2338
1359 | 190723_PRM_215.raw | 0.711 | PRM 215 |  | 4.5098 | 7.6032 | 0.12795 | 7.4752 | 5 | 5.9034 | -24.5554 | 0.11392 | -24.6693 | 10.65 | 50.23 | 9.2606 | -26.2726
1360 | 190723_PRM_194.raw | 0.696 | PRM 194 |  | 3.9814 | 7.3306 | 0.044454 | 7.2862 | 5 | 5.8931 | -22.7036 | 0.11343 | -22.8171 | 9.74 | 50.86 | 9.0457 | -24.3511
1361 | 190723_PRM_212.raw | 0.729 | PRM 212 |  | 5.0703 | 7.0696 | 0.21651 | 6.8531 | 5 | 6.2656 | -23.9802 | 0.13109 | -24.1113 | 11.69 | 51.49 | 8.5534 | -25.6757
1363 | 190723_PRM_218.raw | 0.766 | PRM 218 |  | 5.1487 | 6.8455 | 0.2289 | 6.6166 | 5 | 6.3446 | -24.4613 | 0.13483 | -24.5961 | 11.58 | 50.08 | 8.2846 | -26.1749
1364 | 190723_PRM_190.raw | 0.732 | PRM 190 |  | 4.9693 | 7.9955 | 0.20054 | 7.795 | 5 | 6.0882 | -23.3589 | 0.12268 | -23.4816 | 11.46 | 50.08 | 9.624 | -25.031
1365 | 190723_PRM_213.raw | 0.666 | PRM 213 |  | 4.6782 | 6.2391 | 0.15455 | 6.0846 | 5 | 5.4554 | -23.6554 | 0.092687 | -23.7481 | 11.77 | 49.99 | 7.6798 | -25.3387
1366 | 190723_PRM_203.raw | 0.761 | PRM 203 | 5 | 5.3407 | 7.5095 | 0.25924 | 7.2502 | 5 | 6.4927 | -23.6964 | 0.14185 | -23.8382 | 11.94 | 51.58 | 9.0048 | -25.3812
1367 | 190723_PRM_201.raw | 0.755 | PRM 201 | 5 | 5.8304 | 7.1236 | 0.3366 | 6.787 | 5 | 6.0234 | -22.7556 | 0.11961 | -22.8752 | 13.05 | 48.4 | 8.4783 | -24.4049
1369 | 190723_PRM_219.raw | 0.678 | PRM 219 | 5 | 4.3886 | 7.038 | 0.10879 | 6.9292 | 5 | 6.2553 | -24.1891 | 0.1306 | -24.3197 | 10.7 | 53.74 | 8.64 | -25.8925
1370 | 190723_PRM_200.raw | 0.686 | PRM 200 | 5 | 5.341 | 6.7482 | 0.25928 | 6.489 | 5 | 5.2911 | -21.7447 | 0.084899 | -21.8296 | 13.04 | 46.51 | 8.1395 | -23.356
1371 | 190723_PRM_214.raw | 0.701 | PRM 214 | 5 | 4.9932 | 6.6106 | 0.20433 | 6.4063 | 5 | 5.4229 | -23.7582 | 0.091146 | -23.8494 | 12 | 47.1 | 8.0455 | -25.4453
1372 | 190723_PRM_188.raw | 0.708 | PRM 188 | 5 | 5.0348 | 7.579 | 0.21089 | 7.3681 | 5 | 5.6054 | -22.9852 | 0.099798 | -23.085 | 11.91 | 48.44 | 9.1388 | -24.6432
1373 | 190723_KRA_145.raw | 0.739 | KRA 145 | 5 | 4.5796 | 5.8859 | 0.13898 | 5.7469 | 5 | 6.2708 | -22.5209 | 0.13133 | -22.6522 | 10.37 | 51.92 | 7.296 | -24.1614
1375 | 190723_KRA_170.raw | 0.742 | KRA 170 | 5 | 4.4449 | 6.3511 | 0.1177 | 6.2334 | 5 | 6.7295 | -25.1222 | 0.15308 | -25.2753 | 10.15 | 53.66 | 7.849 | -26.8607
1376 | 190723_fishmuscle05.raw | 0.663 | Fish muscle | 5 | 5.7184 | 9.7337 | 0.31891 | 9.4148 | 5 | 5.3385 | -17.8344 | 0.087146 | -17.9215 | 14.53 | 47.83 | 11.4653 | -19.2983
1377 | 190723_USGS40_03.raw | 0.631 | USGS 40 | 5 | 3.5509 | -4.883 | -0.023561 | -4.8595 | 5 | 4.3019 | -24.6312 | 0.03801 | -24.6692 | 9.42 | 41.18 | -4.7605 | -26.3512
1378 | 190723_USGS40_04.raw | 0.626 | USGS 40 | 5 | 3.4462 | -4.9669 | -0.040106 | -4.9268 | 5 | 4.128 | -24.6418 | 0.029767 | -24.6716 | 9.24 | 40.49 | -4.8369 | -26.3623
1379 | 190723_USGS41a_03.raw | 0.65 | USGS 41a b2 | 5 | 3.6212 | 41.5166 | -0.012457 | 41.5291 | 5 | 4.3173 | 36.164 | 0.038741 | 36.1253 | 9.34 | 40.74 | 47.9701 | 36.7341
1381 | 190723_USGS41a_04.raw | 0.624 | USGS 41a b2 | 5 | 3.5103 | 40.7453 | -0.029972 | 40.7753 | 5 | 4.3601 | 36.4104 | 0.040766 | 36.3696 | 9.58 | 40.95 | 47.1133 | 36.9898
1382 | 190723_acet04.raw | 0.498 | Acetanilide | 5 | 3.0076 | 0.41078 | -0.1094 | 0.52018 | 5 | 5.7879 | -25.7289 | 0.10845 | -25.8374 | 10 | 70.93 | 1.3547 | -27.4903
1383 | 190723_acet05.raw | 0.84 | Acetanilide | 5 | 5.2147 | 0.80893 | 0.23932 | 0.56961 | 5 | 9.8161 | -25.6028 | 0.29938 | -25.9022 | 10.24 | 71.07 | 1.4109 | -27.3595
1384 | 190723_CTGA02.raw | 0.593 | CTGA | 5 | 3.3 | -4.4501 | -0.063204 | -4.3869 | 5 | 4.0643 | -11.9207 | 0.02675 | -11.9474 | 9.19 | 41 | -4.2232 | -13.1619
|  |  |  | Quality assurance - external reference material | 15N |  |  | 13C
[5 empty] | Average signal height (nA) | Measured value | Reported absolute value | Average signal height (nA) | Measured value | Reported absolute value
|  |  |  | USGS 40 | 3.5812 | -4.648 | -4.52 | 4.6395 | -24.6686 | -26.39
|  |  |  | USGS 41a | 3.5207 | 41.1771 | 47.57 | 4.4697 | 35.9962 | 36.56
|  |  |  | USGS 40 std. dev |  | 0.38049 | 0.06 |  | 0.035922 | 0.04
|  |  |  | USGS 41a std. dev |  | 0.37937 | 0.15 |  | 0.45204 | 0.08
|  |  |  | Quality control | 15N |  |  | %N |  | 13C |  |  | %C
[5 empty] | Average signal height (nA) | Normalised value | Internal standard value | Measured value | Internal standard value | Average signal height (nA) | Normalised value | Internal standard value | Measured value | Internal standard value
|  |  |  | Fish muscle | 5.7764 | 11.4791 | 11.5 | 14.574 | 14.62 | 5.4884 | -19.2794 | -19.36 | 47.864 | 48.57
|  |  |  | std. dev |  | 0.078989 | 0.2 | 0.1641 | 0.34 |  | 0.045322 | 0.3 | 0.41585 | 1
|  |  |  | Acetanilide | 4.715 | 1.4908 | 1.64 | 10.12 | 10.36 | 7.54 | -27.4922 | -27.55 | 71 | 71.09
|  |  |  | std. dev |  | 0.14093 | 0.17 | 0.16971 |  |  | 0.11866 | 0.1 | 0.098995
|  |  |  | CTGA | 3.3736 | -4.0148 | -3.83 | 9.355 | 9.5 | 4.1445 | -13.1345 | -13.1 | 40.755 | 40.39
|  |  |  | std. dev |  | 0.29476 | 0.12 |  | 0.18 |  | 0.038685 | 0.22 | 0.34648 | 0.84
USGS 41a b2
|  | USGS 41a b2 | 41.1843 | 35.552
|  | USGS 41a b2 | 41.5166 | 36.164
|  | USGS 41a b2 | 40.7453 | 36.4104
|  |  | 0.38689 | 0.44197

## 190724
Sample Number | Raw data file | Weight (mg) | Sample Description | N2 reference peak height (nA) | N2 sample peak height (nA) | Raw 15N/14Nair [‰] | Linearity adjustment N | Linearity corrected N | CO2 reference peak height (nA) | CO2 sample peak height (nA) | Raw 13C/12CVPDB [‰] | N% | C% | Normalised 15N/14Nair [‰] | Normalised 13C/12CVPDB [‰] | Run: 190724_SAlewijnse2019_set1_run02
1390 | 190724_acet01.raw | 1.032 | Acetanilide | 5 | 6.6266 | 1.0151 | 0.41586 | 0.59925 | 5 | 12.3852 | -25.5469 |  |  | 1.6103 | -27.3159
1391 | 190724_acet02.raw | 0.526 | Acetanilide | 5 | 3.3185 | 0.49711 | -0.038684 | 0.53579 | 5 | 6.2873 | -25.7358 |  |  | 1.5389 | -27.511
1392 | 190724_acet03.raw | 0.8 | Acetanilide | 5 | 5.1685 | 0.91351 | 0.21551 | 0.69801 | 5 | 9.6465 | -25.6251 |  |  | 1.7214 | -27.3967
1393 | 190724_USGS40_01.raw | 0.72 | USGS 40 | 5 | 4.1879 | -4.7929 | 0.080773 | -4.8737 | 5 | 5.0333 | -24.7001 | 9.42 | 40.68 | -4.5477 | -26.4416
1394 | 190724_USGS40_02.raw | 0.598 | USGS 40 | 5 | 3.4583 | -4.8864 | -0.019472 | -4.8669 | 5 | 4.1184 | -24.6839 | 9.3 | 40.45 | -4.5401 | -26.4249
1397 | 190724_USGS41a_02.raw | 0.665 | USGS 41a b2 | 5 | 3.9175 | 41.7345 | 0.043626 | 41.6908 | 5 | 4.6056 | 36.2252 | 9.52 | 41.01 | 47.8452 | 36.4627
1398 | 190724_fishmuscle01.raw | 0.721 | Fish muscle | 5 | 6.3869 | 9.8924 | 0.38292 | 9.5095 | 5 | 5.82 | -17.8745 | 14.53 | 47.31 | 11.6358 | -19.3944
1399 | 190724_CTGA01.raw | 0.598 | CTGA | 5 | 3.4553 | -4.3059 | -0.019879 | -4.2861 | 5 | 4.0732 | -11.819 | 9.16 | 40.6 | -3.8865 | -13.1421
1400 | 190724_PRM_205.raw | 0.735 | PRM 205 | 5 | 5.3416 | 6.3271 | 0.2393 | 6.0878 | 5 | 6.4334 | -23.9057 | 12.73 | 51.85 | 7.7858 | -25.6214
1402 | 190724_GYR_96_1.raw | 0.739 | GYR 96-1 | 5 | 5.0176 | 8.0448 | 0.19478 | 7.85 | 5 | 6.5404 | -22.2822 | 11.28 | 52.27 | 9.7686 | -23.9452
1403 | 190724_GYR_96_2.raw | 0.648 | GYR 96-2 | 5 | 3.9026 | 7.1803 | 0.041576 | 7.1388 | 5 | 5.9048 | -25.1118 | 9.76 | 53.7 | 8.9683 | -26.8667
1404 | 190724_GYR_110.raw | 0.652 | GYR 110 | 5 | 4.277 | 7.787 | 0.093024 | 7.694 | 5 | 6.1585 | -26.9223 | 10.6 | 55.22 | 9.5931 | -28.736
1405 | 190724_GYR_93.raw | 0.675 | GYR 93 | 5 | 4.313 | 7.8152 | 0.097968 | 7.7173 | 5 | 6.3461 | -26.4254 | 10.37 | 55.93 | 9.6192 | -28.223
1406 | 190724_GYR_98.raw | 0.669 | GYR 98 | 5 | 4.4988 | 8.4594 | 0.1235 | 8.3359 | 5 | 5.6413 | -24.7245 | 10.97 | 54.24 | 10.3154 | -26.4668
1408 | 190724_GYR_112.raw | 0.725 | GYR 112 | 5 | 4.6008 | 6.9872 | 0.1375 | 6.8497 | 5 | 6.1296 | -24.8591 | 10.4 | 55.07 | 8.6431 | -26.6058
1409 | 190724_GYR_105.raw | 0.641 | GYR 105 | 5 | 4.356 | 7.394 | 0.10388 | 7.2901 | 5 | 5.1095 | -25.6976 | 10.9 | 53.05 | 9.1387 | -27.4715
1410 | 190724_GYR_106.raw | 0.78 | GYR 106 | 5 | 2.3118 | 6.0229 | -0.17699 | 6.1999 | 5 | 2.8398 | -24.6437 | 4.65 | 23.57 | 7.9119 | -26.3834
1411 | 190724_GYR_100.raw | 0.628 | GYR 100 | 5 | 4.0584 | 6.8799 | 0.062985 | 6.8169 | 5 | 5.3599 | -24.4855 | 10.42 | 55.91 | 8.6062 | -26.22 |  |  | 0.1374
1412 | 190724_GYR_91.raw | 0.714 | GYR 91 | 5 | 4.8825 | 7.6705 | 0.17621 | 7.4943 | 5 | 6.1783 | -26.4373 | 10.99 | 57.19 | 9.3683 | -28.2353 |  | Adjusted to 3.6nA | 0.49464
1414 | 190724_GYR_95.raw | 0.741 | GYR 95 | 5 | 4.808 | 8.4446 | 0.16598 | 8.2786 | 5 | 6.1398 | -26.4206 | 10.58 | 54.66 | 10.2509 | -28.2181
1415 | 190724_fishmuscle02.raw | 0.715 | Fish muscle | 5 | 6.2963 | 9.9081 | 0.37047 | 9.5376 | 5 | 5.1447 | -17.8141 | 14.29 | 46.86 | 11.6675 | -19.332
1416 | 190724_GYR_103.raw | 0.702 | GYR 103 | 5 | 4.8142 | 6.5971 | 0.16684 | 6.4302 | 5 | 5.6418 | -25.1924 | 11.02 | 53.13 | 8.1711 | -26.95
1417 | 190724_GYR_99.raw | 0.67 | GYR 99 | 5 | 4.3213 | 6.7642 | 0.099101 | 6.6651 | 5 | 5.481 | -24.622 | 10.3 | 53.56 | 8.4353 | -26.3609
1418 | 190724_GYR_94.raw | 0.689 | GYR 94 | 5 | 4.7447 | 8.3202 | 0.15729 | 8.1629 | 5 | 5.5382 | -25.6557 | 11.08 | 53.29 | 10.1206 | -27.4283
1420 | 190724_GYR_104.raw | 0.649 | GYR 104 | 5 | 4.0226 | 8.3545 | 0.058059 | 8.2964 | 5 | 5.6307 | -26.002 | 10.15 | 57.29 | 10.2709 | -27.7858
1421 | 190724_GYR_101.raw | 0.68 | GYR 101 | 5 | 4.6133 | 7.6456 | 0.13923 | 7.5063 | 5 | 5.5532 | -23.8194 | 10.96 | 54.24 | 9.3819 | -25.5323
1422 | 190724_GYR_97.raw | 0.648 | GYR 97 | 5 | 4.3477 | 7.2943 | 0.10274 | 7.1915 | 5 | 4.8723 | -23.7025 | 10.87 | 49.72 | 9.0277 | -25.4117
1423 | 190724_GYR_90.raw | 0.758 | GYR 90 | 5 | 4.9923 | 7.4858 | 0.1913 | 7.2945 | 5 | 6.6539 | -25.215 | 10.59 | 57.55 | 9.1435 | -26.9733
1424 | 190724_GYR_102.raw | 0.721 | GYR 102 | 5 | 5.1125 | 7.8345 | 0.20781 | 7.6267 | 5 | 6.0145 | -26.1907 | 11.41 | 54.81 | 9.5174 | -27.9806
1426 | 190724_GYR_107.raw | 0.661 | GYR 107 | 5 | 4.5918 | 7.185 | 0.13628 | 7.0487 | 5 | 5.2551 | -23.0659 | 11.39 | 51.89 | 8.867 | -24.7544
1427 | 190724_GYR_111.raw | 0.693 | GYR 111 | 5 | 4.7495 | 7.9443 | 0.15795 | 7.7863 | 5 | 5.7785 | -26.6609 | 11.06 | 54.77 | 9.697 | -28.4662
1428 | 190724_GYN_121.raw | 0.703 | GYN 121 | 5 | 3.5006 | 8.0035 | -0.013656 | 8.0172 | 5 | 6.5691 | -24.2448 | 7.94 | 61.49 | 9.9567 | -25.9715
1429 | 190724_GYN_128.raw | 0.76 | GYN 128 | 5 | 3.9388 | 8.2026 | 0.046554 | 8.156 | 5 | 7.2613 | -24.6172 | 8.32 | 63.2 | 10.1129 | -26.3561
1430 | 190724_fishmuscle03.raw | 0.788 | Fish muscle | 5 | 6.9504 | 10.0391 | 0.46035 | 9.5788 | 5 | 5.6532 | -17.751 | 14.35 | 46.65 | 11.7137 | -19.2668
1432 | 190724_GYN_130.raw | 0.755 | GYN 130 | 5 | 3.3336 | 7.1272 | -0.036608 | 7.1638 | 5 | 7.0415 | -25.5041 | 7.18 | 61.41 | 8.9965 | -27.2718
1433 | 190724_GYN_220.raw | 0.728 | GYN 220 | 5 | 5.0822 | 7.5672 | 0.20366 | 7.3636 | 5 | 5.9546 | -23.2441 | 11.23 | 53.54 | 9.2213 | -24.9384
1434 | 190724_GYN_126.raw | 0.7 | GYN 126 | 5 | 3.7123 | 7.7046 | 0.015423 | 7.6892 | 5 | 6.5626 | -24.5445 | 8.55 | 61.02 | 9.5877 | -26.2809
1435 | 190724_GYN_125.raw | 0.663 | GYN 125 | 5 | 4.5851 | 7.9465 | 0.13536 | 7.8112 | 5 | 5.5405 | -22.834 | 11.19 | 54.57 | 9.7249 | -24.5149
1436 | 190724_GYN_123.raw | 0.672 | GYN 123 | 5 | 3.2899 | 8.2821 | -0.042613 | 8.3247 | 5 | 6.1379 | -23.8791 | 7.74 | 60.37 | 10.3028 | -25.594
1438 | 190724_GYN_120.raw | 0.647 | GYN 120 | 5 | 4.0192 | 8.0955 | 0.057601 | 8.0379 | 5 | 5.413 | -22.5788 | 10.25 | 55.17 | 9.98 | -24.2514
1439 | 190724_GYN_122.raw | 0.71 | GYN 122 | 5 | 3.6971 | 8.389 | 0.013346 | 8.3757 | 5 | 6.5769 | -26.4031 | 8.3 | 61.38 | 10.3601 | -28.2
1440 | 190724_GYN_127.raw | 0.656 | GYN 127 | 5 | 3.049 | 7.0163 | -0.075713 | 7.092 | 5 | 6.1309 | -26.0622 | 7.4 | 61.92 | 8.9157 | -27.848
1441 | 190724_GYN_129.raw | 0.724 | GYN 129 | 5 | 4.017 | 7.9192 | 0.057294 | 7.8619 | 5 | 5.9252 | -24.453 | 9 | 53.11 | 9.782 | -26.1865
1442 | 190724_GYN_124.raw | 0.656 | GYN 124 | 5 | 3.2943 | 7.776 | -0.042 | 7.818 | 5 | 6.3902 | -24.4472 | 8 | 63.47 | 9.7326 | -26.1805
1444 | 190724_ELN_65.raw | 0.765 | ELN 65 | 5 | 4.2819 | 6.4872 | 0.093696 | 6.3935 | 5 | 6.0973 | -25.7779 | 9.15 | 53.29 | 8.1298 | -27.5544
1445 | 190724_ELN_42.raw | 0.712 | ELN 42 | 5 | 4.9481 | 7.2365 | 0.18524 | 7.0512 | 5 | 5.5218 | -25.7088 | 11.33 | 50.59 | 8.8699 | -27.4831
1446 | 190724_fishmuscle04.raw | 0.75 | Fish muscle | 5 | 6.7413 | 9.8675 | 0.43162 | 9.4358 | 5 | 5.4061 | -17.7726 | 14.64 | 47.92 | 11.5529 | -19.2891
1447 | 190724_USGS40_03.raw | 0.594 | USGS 40 | 5 | 3.435 | -4.9147 | -0.022665 | -4.892 | 5 | 3.6227 | -24.5932 | 9.25 | 40.76 | -4.5683 | -26.3312
1448 | 190724_USGS41a_03.raw | 0.596 | USGS 41a b2 | 5 | 3.4776 | 41.3069 | -0.01682 | 41.3238 | 5 | 3.7091 | 36.3695 | 9.38 | 40.98 | 47.4322 | 36.6116
1450 | 190724_acet04.raw | 0.6 | Acetanilide | 5 | 3.8281 | 0.68532 | 0.031343 | 0.65397 | 5 | 6.5156 | -25.7296 |  |  | 1.6719 | -27.5046
1451 | 190724_acet05.raw | 1.092 | Acetanilide | 5 | 7.1416 | 0.89812 | 0.48662 | 0.4115 | 5 | 11.7999 | -25.5607 |  |  | 1.399 | -27.3302
1452 | 190724_acet06.raw | 0.826 | Acetanilide | 5 | 5.2847 | 0.83893 | 0.23148 | 0.60745 | 5 | 8.7301 | -25.6661 |  |  | 1.6195 | -27.439
1453 | 190724_CTGA02.raw | 0.656 | CTGA | 5 | 3.7869 | -4.3109 | 0.025681 | -4.3365 | 5 | 4.0097 | -11.7975 | 9.33 | 40.44 | -3.9433 | -13.1199
1454 | 190724_ELN_37.raw | 0.669 | ELN 37 | 5 | 4.5672 | 7.2547 | 0.13289 | 7.1218 | 5 | 5.2531 | -25.9368 | 11.01 | 51.98 | 8.9492 | -27.7186
1455 | 190724_ELN_31.raw | 0.765 | ELN 31 | 5 | 5.636 | 6.6942 | 0.27975 | 6.4145 | 5 | 5.8737 | -24.9073 | 11.81 | 50.53 | 8.1534 | -26.6556
1457 | 190724_ELN_69.raw | 0.672 | ELN 69 | 5 | 4.8433 | 7.7202 | 0.17083 | 7.5494 | 5 | 5.3294 | -25.2842 | 11.91 | 52.05 | 9.4303 | -27.0447
1458 | 190724_ELN_62.raw | 0.652 | ELN 62 | 5 | 4.3112 | 7.9425 | 0.09772 | 7.8448 | 5 | 5.1492 | -25.3921 | 10.61 | 52.14 | 9.7627 | -27.1561
1459 | 190724_ELN_38.raw | 0.683 | ELN 38 | 5 | 4.521 | 7.0255 | 0.12654 | 6.8989 | 5 | 5.357 | -25.1506 | 10.54 | 52.44 | 8.6985 | -26.9067
1460 | 190724_ELN_62b.raw | 0.743 | ELN 62 | 5 | 4.9653 | 8.0205 | 0.18759 | 7.8329 | 5 | 5.7392 | -25.3456 | 10.81 | 51.39 | 9.7494 | -27.1081
1461 | 190724_ELN_33.raw | 0.739 | ELN 33 | 5 | 5.2782 | 6.3741 | 0.23059 | 6.1435 | 5 | 5.6833 | -25.5636 | 11.48 | 51.64 | 7.8485 | -27.3331
1463 | 190724_ELN_72.raw | 0.661 | ELN 72 | 5 | 4.8968 | 6.5198 | 0.17818 | 6.3416 | 5 | 5.0631 | -25.1241 | 11.21 | 50.77 | 8.0714 | -26.8794
1464 | 190724_ELN_19.raw | 0.766 | ELN 19 | 5 | 5.3042 | 8.2485 | 0.23416 | 8.0144 | 5 | 5.9574 | -25.9029 | 11.58 | 51.4 | 9.9535 | -27.6836
1465 | 190724_ELN_36.raw | 0.719 | ELN 36 | 5 | 4.9682 | 7.7018 | 0.18799 | 7.5138 | 5 | 5.8264 | -24.692 | 11.1 | 53.88 | 9.3903 | -26.4333
1466 | 190724_ELN_60.raw | 0.716 | ELN 60 | 5 | 4.4598 | 7.4083 | 0.11814 | 7.2901 | 5 | 5.7777 | -25.4366 | 9.77 | 53.03 | 9.1386 | -27.202
1467 | 190724_ELN_59.raw | 0.765 | ELN 59 | 5 | 5.122 | 7.6612 | 0.20913 | 7.4521 | 5 | 6.0429 | -25.3624 | 10.6 | 51.74 | 9.3209 | -27.1254
1469 | 190724_fishmuscle05.raw | 0.535 | Fish muscle | 5 | 4.7479 | 9.3637 | 0.15773 | 9.2059 | 5 | 3.8182 | -17.8915 | 14.48 | 46.97 | 11.2943 | -19.4119
1470 | 190724_ELN_71.raw | 0.656 | ELN 71 | 5 | 4.0857 | 6.5107 | 0.066741 | 6.444 | 5 | 5.4298 | -25.6009 | 10.32 | 54.14 | 8.1866 | -27.3717
1471 | 190724_ELN_67.raw | 0.734 | ELN 67 | 5 | 5.0928 | 6.4643 | 0.20511 | 6.2592 | 5 | 6.4444 | -24.694 | 10.58 | 57.17 | 7.9787 | -26.4353
1472 | 190724_ELN_21_1.raw | 0.727 | ELN 21-1 | 5 | 5.0895 | 6.158 | 0.20465 | 5.9534 | 5 | 5.4321 | -25.1212 | 10.93 | 48.65 | 7.6345 | -26.8764
1473 | 190724_ELN_52.raw | 0.722 | ELN 52 | 5 | 4.7736 | 7.1575 | 0.16125 | 6.9962 | 5 | 5.6647 | -25.6167 | 10.13 | 51.46 | 8.808 | -27.388
1475 | 190724_ELN_32.raw | 0.784 | ELN 32 | 5 | 4.8239 | 7.4387 | 0.16817 | 7.2705 | 5 | 6.3119 | -26.3135 | 10.44 | 53.94 | 9.1166 | -28.1074
1476 | 190724_ELN_21_2.raw | 0.738 | ELN 21-2 | 5 | 4.8837 | 6.3642 | 0.17638 | 6.1879 | 5 | 5.7604 | -25.5529 | 11.05 | 52.21 | 7.8984 | -27.3221
1477 | 190724_ELN_35.raw | 0.766 | ELN 35 | 5 | 5.4976 | 7.5337 | 0.26073 | 7.273 | 5 | 6.325 | -24.7253 | 11.9 | 55.24 | 9.1194 | -26.4676
1478 | 190724_KRA_176.raw | 0.745 | KRA 176 | 5 | 4.6427 | 5.0238 | 0.14327 | 4.8806 | 5 | 5.7735 | -25.1666 | 10.37 | 52.26 | 6.4275 | -26.9233
1479 | 190724_KRA_156.raw | 0.771 | KRA 156 | 5 | 3.6004 | 5.8564 | 6.0387e-05 | 5.8564 | 5 | 6.4611 | -25.0118 | 7.65 | 55.07 | 7.5254 | -26.7635
1481 | 190724_KRA_155.raw | 0.767 | KRA 155 | 5 | 3.9847 | 5.3487 | 0.052859 | 5.2959 | 5 | 6.2693 | -25.7287 | 8.82 | 54.65 | 6.8948 | -27.5036
1482 | 190724_KRA_166.raw | 0.771 | KRA 166 | 5 | 4.1135 | 4.7572 | 0.070562 | 4.6866 | 5 | 6.1516 | -26.2628 | 8.86 | 53.66 | 6.2093 | -28.0551
1483 | 190724_KRA_174.raw | 0.731 | KRA 174 | 5 | 3.8549 | 5.3983 | 0.035019 | 5.3633 | 5 | 5.8777 | -25.3741 | 8.7 | 54.49 | 6.9706 | -27.1375
1484 | 190724_fishmuscle06.raw | 0.722 | Fish muscle | 5 | 6.7447 | 9.9245 | 0.43208 | 9.4924 | 5 | 5.254 | -17.7323 | 14.69 | 48.11 | 11.6166 | -19.2475
1485 | 190724_CTGA03.raw | 0.624 | CTGA | 5 | 3.4534 | -4.3518 | -0.020143 | -4.3316 | 5 | 3.7998 | -11.8166 | 9.15 | 40.31 | -3.9378 | -13.1396
1486 | 190724_USGS40_04.raw | 0.717 | USGS 40 | 5 | 4.0359 | -4.8744 | 0.059897 | -4.9343 | 5 | 4.4951 | -24.631 | 9.41 | 41.24 | -4.6159 | -26.3703
1488 | 190724_USGS40_05.raw | 0.601 | USGS 40 | 5 | 3.3495 | -4.7128 | -0.034413 | -4.6784 | 5 | 3.6445 | -24.6422 | 9.45 | 40.38 | -4.328 | -26.3819
1490 | 190724_USGS41a_05.raw | 0.603 | USGS 41a b2 | 5 | 3.3779 | 41.2935 | -0.030514 | 41.3241 | 5 | 3.685 | 36.3637 | 9.27 | 40.69 | 47.4326 | 36.6057
1491 | 190724_fishmuscle07.raw | 1.018 | Fish muscle | 5 | 8.9336 | 10.2177 | 0.73284 | 9.4849 | 5 | 7.2362 | -17.6784 | 14.73 | 47.9 | 11.6081 | -19.1919
1492 | 190724_fishmuscle08.raw | 0.384 | Fish muscle | 5 | 3.2728 | 8.8886 | -0.044959 | 8.9335 | 5 | 2.9093 | -18.4192 | 14.11 | 50.05 | 10.9877 | -19.9567
1494 | 190724_fishmuscle09.raw | 0.941 | Fish muscle | 5 | 8.3717 | 10.2218 | 0.65563 | 9.5662 | 5 | 6.8326 | -17.7355 | 14.78 | 47.65 | 11.6996 | -19.2508
1495 | 190724_acet07.raw | 0.504 | Acetanilide | 5 | 3.037 | 0.33631 | -0.077358 | 0.41367 | 5 | 5.3368 | -25.7698 | 9.77 | 70.36 | 1.4015 | -27.5461
1496 | 190724_acet08.raw | 0.789 | Acetanilide | 5 | 4.9169 | 0.88306 | 0.18094 | 0.70212 | 5 | 8.6882 | -25.6425 | 10.33 | 71.62 | 1.726 | -27.4146
|  |  |  | Quality assurance - external reference material | 15N |  |  | 13C
[5 empty] | Average signal height (nA) | Measured value | Reported absolute value | Average signal height (nA) | Measured value | Reported absolute value
|  |  |  | USGS 40 | 3.6933 | -4.8491 | -4.52 | 4.1828 | -24.6501 | -26.39
|  |  |  | USGS 41a | 3.591 | 41.4462 | 47.57 | 3.9999 | 36.3195 | 36.56
|  |  |  | USGS 40 std. dev |  | 0.098934 | 0.06 |  | 0.042755 | 0.04
|  |  |  | USGS 41a std. dev |  | 0.21184 | 0.15 |  | 0.081661 | 0.08
|  |  |  | Quality control | 15N |  |  | %N |  | 13C |  |  | %C
[5 empty] | Average signal height (nA) | Normalised value | Internal standard value | Measured value | Internal standard value | Average signal height (nA) | Normalised value | Internal standard value | Measured value | Internal standard value
|  |  |  | Fish muscle | 6.494 | 11.5307 | 11.5 | 14.5111 | 14.62 | 5.3416 | -19.3712 | -19.36 | 47.7133 | 48.57
|  |  |  | std. dev |  | 0.23884 | 0.2 | 0.22525 | 0.34 |  | 0.23078 | 0.3 | 1.0169 | 1
|  |  |  | Acetanilide | 4.9152 | 1.5861 | 1.64 | 10.05 | 10.36 | 8.6737 | -27.4323 | -27.55 | 70.99 | 71.09
|  |  |  | std. dev |  | 0.12997 | 0.17 | 0.39598 |  |  | 0.084482 | 0.1 | 0.89095
|  |  |  | CTGA | 3.5652 | -3.9225 | -3.83 | 9.2133 | 9.5 | 3.9609 | -13.1339 | -13.1 | 40.45 | 40.39
|  |  |  | std. dev |  | 0.031316 | 0.12 |  | 0.18 |  | 0.012187 | 0.22 | 0.14526 | 0.84
USGS 41a b2
|  | USGS 41a b2 | 41.1843 | 35.552
|  | USGS 41a b2 | 41.5166 | 36.164
|  | USGS 41a b2 | 40.7453 | 36.4104
|  |  | 0.38689 | 0.44197